## Slide 1: Medical Devices: Pwnage and Honeypots
EXPLORING HEALTHCARE SECURITY VULNERABILITIES
Saketha Kusu

## Slide 2: Introduction
Increasing reliance on internet-connected medical devices.
Growing cyber threats in healthcare.
Importance of patient safety and data security.
Goals:
Understand vulnerabilities.
Explore real-world implications.
Discuss solutions and future directions.

## Slide 3: Overview of Medical Device Vulnerabilities
  Default and hardcoded credentials.
  Legacy and unpatched systems.
  Unencrypted data transmissions.
  Limited focus on cybersecurity during procurement.
Key Issues Identified:
  Patient safety risks.
  Compromised electronic health records (EHRs).
  Potential for large-scale healthcare disruptions.
Impact of Vulnerabilities:

## Slide 4: Case Study – Exploiting Vulnerabilities
  Austrian gunshot patients manipulating infusion pumps.
  Attack methods: Publicly available service manuals and hardcoded credentials.
Real-World Example:
  Overdose due to manual device manipulation.
Outcome:
  Vulnerabilities don’t always need sophisticated attackers; insiders or patients can exploit them.
Implication:

## Slide 5: Honeypot Research Findings
Purpose of Research:
Determine whether attacks are intentional or opportunistic.
Setup:
Emulated vulnerable medical devices (e.g., defibrillators, MRI machines).
Key Observations:
55,000 successful logins.
Attackers often unintentional; focused on generic exploits.
Devices connecting to Command-and-Control (C2) servers.

## Slide 6: Consequences for Healthcare Sector
  Device malfunctions (ventilators, infusion pumps).
  Potential misdiagnosis due to altered data.
Patient Safety Risks:
  Exposure of sensitive patient data.
  Non-compliance with HIPAA.
Data Breach Implications:
  Disruption of critical systems like imaging and patient monitoring.
Operational Challenges:

## Slide 7: FDA and Industry Response
Progress Highlighted:
  FDA’s first-ever advisory for removing vulnerable devices.
  Increased collaboration between researchers, healthcare providers, and manufacturers.
Challenges Remaining:
  Lack of cybersecurity validation by FDA.
  Insufficient forensic tools for post-incident analysis.

## Slide 8: Recommendations for Healthcare Organizations
Immediate Actions:
  Scan for and disable default credentials.
  Apply patches and update legacy systems.
  Use encryption for all medical device communications.
Long-Term Strategies:
  Include cybersecurity in procurement processes.
  Demand vendor accountability for security practices.
  Train staff on secure device use and maintenance.

## Slide 9: Emerging Solutions
Technological Advances:
Use of AI for anomaly detection.
Blockchain for secure data handling.
Collaborative Efforts:
Adoption of coordinated vulnerability disclosure policies.
Industry-wide standards for medical device security.

## Slide 10: Conclusion
Medical devices are critical but vulnerable.
Proactive measures can mitigate risks.
Collaboration is essential for sustainable security improvements.

## Slide 11: Thank you